## Cover
Guidance for stakeholders making representations on PR19 draft determinations
The deadline for making representations on the draft determinations is 10 am on 30 August 2019. This deadline is set in order for us to have sufficient time to give conscientious consideration to representations ahead of making our final determinations, which will be published on 11 December 2019.
Representations from water companies
To ensure we have sufficient information to effectively take account of representations for the final determinations, we are asking companies to complete this representations pro forma. Completing the pro forma will help companies to maximise the impact of their representations on the draft determinations, as they will enable us to better identify what the issues are that we need to address. This pro forma contains four tables:
 RP1 – Evidence summary for cost assessment purposes
 RP2 – Draft determination action and interventions response summary
 RP3 – Other issues summary (except cost assessment)
 RP4 – Schedule of data requirements for the final determination
There is one pro forma for all water companies to use.
We expect companies to publish their representations on the draft determination including any updated business plan tables.
All elements of company representations should be uploaded to Ofwat's PR19 Data capture in Sharepoint. Companies may also email representations to PR19@ofwat.gov.uk We will consider all representations when making our draft determinations. However, representations that do not provide further evidence to support a view that differs from those set out in the draft determinations are unlikely to result in changes in the final determinations.
Further explanation on the purpose of each table can be found in the guidance section and on our website.

## RP1
Setting expectations for companies' representations on the 2019 draft determinations
PR19 Draft determination representation table (RP1) | [7 empty] | Anglian Water
ANH
Evidence summary for cost assessment purposes
Guidance: In this table, companies are advised to provide and signpost further evidence: l in support of their existing costs; l of where their costs have changed; l in support of the cost variance relative to the draft determination i.e. how much do their costs need to change by compared to the draft determination. Companies should only submit relevant cost tables where costs have changed. Companies should indicate clearly in red formatting what those changes are when compared to 1 April 2019 submission (for fast track companies, 3 September 2018 or 11 February 2019 submitted data as appropriate). This information will allow us to identify where there are remaining gaps between our view and company views of costs. In addition this information will allow us to come to a view of a company’s final cost submission, for use in the calculation of cost sharing rates. If a company has not changed its view on costs in response to our draft determination then it should clearly state that this is the case. If the company agrees with our view of costs, it should clearly state this is the case. If a company does not include any lines in this table then we will assume that no gap remains with our view on costs.
Reference | Area | Draft determination allowance (£m) | Company view of the final determination (£m) | Variance (£m) | Price control(s) affected | Business plan table(s) affected | Item reference(s) | Signpost to representation evidence
XXX.DD.CA1 | e.g. Base costs / Enhancement line / Name of cost adjustment claim | 145 | 165 | 20 | Water resources, Water network plus, Wastewater network plus, Bioresources, Residential retail, Business retail, Dummy control | Table number, line number and line description | Item reference(s) | Document name, page and paragraph references
ANH.DD.CA1 | Wholesale water base opex | 1061 | 1168.801 | 107.801 | Water network plus | WS1, WS1a block A, less WS2 block B |  | • Main document - Chapter 7: Cost assessment Botex Plus
ANH.DD.CA2 | Wholesale wastewater base opex | 1290 | 1351.617 | 61.617 | Wastewater network plus | WWS1, WWS1a block A, less WWS2 block B |  | • Main document - Chapter 7: Cost assessment Botex Plus
ANH.DD.CA3 | Wholesale water capital maintenance | 370 | 407.343 | 37.343 | Water network plus | WS1, WS1a lines 12/13 |  | • Main document - Chapter 4: Key Methodological Points • Main document - Chapter 7: Cost assessment Botex Plus
ANH.DD.CA4 | Wholesale wastewater capital maintenance | 617 | 646.411 | 29.411 | Wastewater network plus | WWS1, WWS1a lines 12/13 |  | • Main document - Chapter 4: Key Methodological Points • Main document - Chapter 7: Cost assessment Botex Plus
ANH.DD.CA5 | Wholesale water growth (excl. low pressure) | 80 | 227.054 | 147.054 | Water network plus | WS1, WS1a lines 14/15/16, WS2 lines 8 (TWD only), 11, 12, 47 (TWD only), 50, 51 |  | • Main document - Chapter 7: Cost assessment Botex Plus
ANH.DD.CA6 | Wholesale wastewater growth (excl. flooding) | 233 | 430.739 | 197.739 | Wastewater network plus | WWS1, WWS1a lines 14/15/16, WWS2 lines 25, 26, 72, 73 |  | • Main document - Chapter 10: Focus Area - Growth • Deep dive on growth expenditure • Annex 10a - Reckon Growth Report • Annex 10b - Vivid Growth Report
ANH.DD.CA7 | WINEP / NEP ~ Eels Regulations (measures at intakes) | 7.534 | 8.383 | 0.849 | Water resources | WS1, WS1a line 15, WS2 lines 2, 41 |  | • Main document - Chapter 10: Focus Area - Growth • Deep dive on growth expenditure • Annex 10a - Reckon Growth Report • Annex 10b - Vivid Growth Report
ANH.DD.CA8 | WINEP / NEP ~ Invasive non-native species | 4.477 | 5.313 | 0.836 | Water resources | WS1, WS1a lines 7/14/15, WS2 lines 3, 42 |  | • Main document - Chapter 8: Cost assessment Enhancement
ANH.DD.CA9 | Addressing low pressure | 0 | 9.119 | 9.119 | Water network plus | WS1, WS1a lines 7/14, WS2 lines 4, 43 |  | • Main document - Chapter 10: Focus Area - Growth
ANH.DD.CA10 | Meeting lead standards | 11.026 | 22.906 | 11.88 | Water network plus | WS1, WS1a lines 7/14, WS2 lines 6, 45 |  | • Main document - Chapter 8: Cost assessment Enhancement Supplementary Evidence
ANH.DD.CA11 | Supply Demand Balance (incl. leakage) | 354.548 | 482.801 | 128.253 | Water network plus | WS1, WS1a lines 7/14/15, WS2 lines 8 (WR only), 10 (part), 14 (part), 18 (part), 49 (part) |  | • Main document - Chapter 11 - Focus Area WRMP • Annex11a - Strategic Regional Solution • Annex11b - Anglian Water revised dWRMP 2019 • Annex11c - AW revised dWRMP 2019 supporting technical - Customer and stakeholder engagement • Annex11d - AW revised dWRMP 2019 supporting technical – Options Appraisal • Annex11e - AW revised dWRMP 2019 supporting technical – Supplyside Option Development v2 • Split of investment by line provided in table commentary for WS2
ANH.DD.CA12 | Smart Metering | 108.086 | 136.802 | 28.716 | Water network plus | WS1, WS1a lines 7/15/16, WS2 lines 10(part), 21, 22, 49 (part) |  | • Main document - Chapter 8: Cost assessment enhancement • Smart metering cost adjustment claim • Supplementary Evidence • Split of investment by line provided in table commentary for WS2
ANH.DD.CA13 | Investment to address raw water deterioration (THM, nitrates, Crypto, pesticides, others) | 20.5 | 22.81 | 2.31 | Water network plus | WS1, WS1a line 15, WS2 line 13 |  | • Main document - Chapter 8: Cost assessment Enhancement
ANH.DD.CA14 | Water resilience | 17.082 | 30.118 | 13.036 | Water network plus | WS1, WS1a lines 14/15, WS2 lines 14 (part), 53 (part) |  | • Main document - Chapter 8: Cost assessment enhancement • Supplementary Evidence • Split of investment by line provided in table commentary for WS2
ANH.DD.CA15 | Water Security (incl. Cyber) | 12.451 | 16.811 | 4.36 | Water network plus | WS1, WS1a line 15, WS2 lines 14 (part), 26, 53 (part), 65 |  | • Main document - Chapter 8: Cost assessment enhancement • Supplementary Evidence • Split of investment by line provided in table commentary for WS2
ANH.DD.CA16 | WINEP / NEP ~ Drinking Water Protected Areas (schemes) | 17.275 | 19.56 | 2.285 | Water resources | WS1, WS1a lines 7/14/15, WS2 lines 17, 56 |  | • Main document - Chapter 8: Cost assessment Enhancement
ANH.DD.CA17 | WINEP / NEP ~ Water Framework Directive measures | 25.401 | 28.199 | 2.798 | Water resources | WS1, WS1a lines 7/14/15, WS2 lines 18, 57 (Water Resources only) |  | • Main document - Chapter 8: Cost assessment enhancement • Split of investment by line provided in table commentary for WS2
ANH.DD.CA18 | WINEP / NEP ~ Investigations | 0.987 | 0.984 | -0.003 | Water resources | WS1, WS1a lines 14/15, WS2 line 19 |  | We agree with Ofwat's view of costs
ANH.DD.CA19 | Strategic Regional Solutions | 25.27 | 24.795 | -0.475 | Water network plus | WS1, WS1a line 7, WS2 line 68 |  | We agree with Ofwat's view of costs
ANH.DD.CA20 | First time sewerage (s101A) | 19.235 | 20.758 | 1.523 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 1, 48 |  | • Main document - Chapter 8: Cost assessment enhancement • Supplementary Evidence
ANH.DD.CA21 | Sludge quality and growth | 0.5 | 12.537 | 12.037 | Bioresources | WWS1, WWS1a lines 14/15, WWS2 lines 2, 3, 49, 50 |  | • Main document - Chapter 8: Cost assessment enhancement • Supplementary Evidence
ANH.DD.CA22 | WINEP / NEP ~ Conservation drivers | 0.13 | 0.13 | 0 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 line 51 |  | We agree with Ofwat's view of costs
ANH.DD.CA23 | WINEP / NEP ~ Event Duration Monitoring at intermittent discharges | 9.703 | 11.303 | 1.6 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 6, 53 |  | • Main document - Chapter 8: Cost assessment enhancement • Supplementary Evidence
ANH.DD.CA24 | WINEP / NEP ~ Flow monitoring at sewage treatment works | 14.665 | 16.756 | 2.091 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 7, 54 |  | • Main document - Chapter 8: Cost assessment enhancement
ANH.DD.CA25 | WINEP / NEP ~ Schemes to increase flow to full treatment | 80.639 | 67.042 | -13.597 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 9, 56 |  | We agree with Ofwat's view of costs
ANH.DD.CA26 | WINEP / NEP ~ Storage schemes at STWs to increase storm tank capacity | 125.48 | 126.728 | 1.248 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 10, 57 |  | • Main document - Chapter 8: Cost assessment enhancement
ANH.DD.CA27 | WINEP / NEP ~ Storage schemes in the network to reduce spill frequency at CSOs, etc | 6.455 | 11.884 | 5.429 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 11, 35, 58, 82 |  | • Main document - Chapter 8: Cost assessment enhancement
ANH.DD.CA28 | WINEP / NEP ~ Chemicals removal schemes | 15.332 | 12.258 | -3.074 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 12, 59 |  | We agree with Ofwat's view of costs
ANH.DD.CA29 | WINEP / NEP ~ Chemicals monitoring / investigations / options appraisals | 4.132 | 4.136 | 0.004 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 line 13 |  | We agree with Ofwat's view of costs
ANH.DD.CA30 | NEP ~ National phosphorus removal technology investigations | 0.16 | 0.16 | 0 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 line 14 |  | We agree with Ofwat's view of costs
ANH.DD.CA31 | WINEP / NEP ~ Investigations | 0.298 | 4.796 | 4.498 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 16, 63 |  | • Main document - Chapter 8: Cost assessment enhancement
ANH.DD.CA32 | Phosphorus removal at water recycling centres | 421.843 | 435.381 | 13.538 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 18, 19, 65, 66 |  | • Main document - Chapter 8: Cost assessment enhancement
ANH.DD.CA33 | WINEP / NEP ~ Reduction of sanitary parameters | 31.764 | 35.727 | 3.963 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 20, 67 |  | • Main document - Chapter 8: Cost assessment enhancement
ANH.DD.CA34 | WINEP / NEP ~ UV disinfection (or similar) | 26.524 | 22.03 | -4.494 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 21, 68 |  | • Main document - Chapter 8: Cost assessment enhancement • We agree with Ofwat's view of costs
ANH.DD.CA35 | Odour | 12.603 | 14.013 | 1.41 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 24, 71 |  | • Main document - Chapter 8: Cost assessment enhancement
ANH.DD.CA36 | Wastewater resilience (partnership funding) | 0.994 | 15.003 | 14.009 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 33, 80 |  | • Main document - Chapter 8: Cost assessment enhancement • Supplementary Evidence
ANH.DD.CA37 | Wastewater Security (Cyber) | 1.193 | 1.192 | -0.001 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 34, 81 |  | We agree with Ofwat's view of costs
ANH.DD.CA38 | Reducing Flooding | 0 | 52.877 | 52.877 | Wastewater network plus | WWS1, WWS1a lines 14/15, WWS2 lines 30, 77 |  | • Main document - Chapter 10: Focus Area - Growth
ANH.DD.CA39 | Sludge Cost adjustment Claim | 0 | 17.6 | 17.6 | Bioresources |  |  | • Sludge Cost adjustment Claim
ANH.DD.CA40 | Leakage Cost adjustment Claim | 0 | 136.9 | 136.9 | Water network plus |  |  | • Leakage Cost adjustment Claim
ANH.DD.CA41 | Smart metering Cost adjustment Claim | 0 | 42.3 | 42.3 | Water network plus |  |  | • Smart metering Cost adjustment Claim
ANH.DD.CA42 | Grants and Contributions (Water) | -73.7 | -141.717 | -68.017 | Water network plus | WS1, WS1a line 21, App28 block C |  | • Table Commentary App28
ANH.DD.CA43 | Grants and Contributions (Water Recycling) | -119.2 | -163.586 | -44.386 | Wastewater network plus | WWS1, WWS1a line 21, App28 block G |  | • Table Commentary App28
KEY
Inputs cells
Calculated cells
Copied cells

## RP2
Setting expectations for companies' representations on the 2019 draft determinations
PR19 Draft determination representation table (RP2) |  | Anglian Water
ANH
Draft determination action and interventions response summary
Guidance: In this table, companies are required to signpost evidence from their representation of how they have responded to: l any further actions set out in their draft determination action and intervention summary documents; l other actions set out in their draft determination company specific documents; and l generic actions for all companies required by Ofwat. In addition, where companies make representations on issues connected to existing actions or interventions set out in the policy area action and intervention documents, we request that these are signposted in this table.
Action reference or DD document reference | Draft determination action description | Signpost to representation evidence
e.g. XXX.RR.A8 | We expect the company to provide Board assurance to confirm how the financeability and financial resilience of the actual structure will be maintained in the context of our draft determination. | Document name, page and paragraph references
e.g. DD summary, section 5.1 | We request that the company provides a restated and compliant Board assurance statement that its plan is financeable on both the notional and actual structures. | Document name, page and paragraph references
e.g. Generic | We require all companies to demonstrate that they are financeable on a notional and actual basis using our draft determination version of the financial model. | Document name, page and paragraph references
ANH.LR.C1 | We expect companies to provide further Board assurance, in their responses to the draft determination, that they will remain financeable on a notional and actual basis, and that they can maintain the financial resilience of their actual structure, taking account of the reasonably foreseeable range of plausible outcomes of their final determination, including evidence of further downward pressure on the cost of capital in very recent market data as we discuss in the ‘Cost of capital technical appendix’. | • Main document - Executive summary • Main document - Chapter 4 - Key Methodological points • Main document - Chapter 5 - outcomes • Main document - Chapter 9 - Risk and Return • Board Assurance Statement • Annex 9a - Notional company financeability • Annex 9b - Economic Insight: Financeability of the notional company
ANH.OC.A1 | Company level action - Performance commitment definitions - Value for money | Main Representation Document Chapter 5 Outcomes Section 5.27 Value for money
ANH.OC.A2 | Company level action - ODI rates | Main Representation Document Chapter 5 Outcomes Section 5.4 Representation on Ofwat approach to incentive rates
ANH.OC.A3 | Company level action - ODI deadbands, caps and collars | Main Representation Document Chapter 5 Outcomes Section 5.5 Our representation on Ofwat's approach to caps and collars
ANH.OC.A4 | Company level action - Overall ODI package | NA
ANH.OC.A5 | Company level action - Asset health ODI package | NA
ANH.OC.A6 | Company level action - Customer protection | Main Representation Document Chapter 5 Outcomes Section 5.7 Ofwat interventions that do not materially change our plan
ANH.OC.A7 | Water supply interruptions - Stretch | Main Representation Document Chapter 5 Outcomes Section 5.11 Water supply interruptions
ANH.OC.A8 | Water supply interruptions - ODI rate | Main Representation Document Chapter 5 Outcomes Section 5.4 Representation on Ofwat approach to incentive rates
ANH.OC.A9 | Water supply interruptions - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.5 Our representation on Ofwat's approach to caps and collars
ANH.OC.A10 | Leakage - Stretch | Main Representation Document Chapter 5 Outcomes Section 5.9 Leakage Chapter 12 Focus Area - Leakage PR19 Draft Determination Leakage Cost Adjustment Claim
ANH.OC.A11 | Leakage - ODI rate | Main Representation Document Chapter 5 Outcomes Section 5.9 Leakage Chapter 12 Focus Area - Leakage PR19 Draft Determination Leakage Cost Adjustment Claim
ANH.OC.A12 | Leakage - Enhanced ODI | Main Representation Document Chapter 5 Outcomes Section 5.9 Leakage Chapter 12 Focus Area - Leakage PR19 Draft Determination Leakage Cost Adjustment Claim
ANH.OC.A13 | Leakage - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.9 Leakage Chapter 12 Focus Area - Leakage PR19 Draft Determination Leakage Cost Adjustment Claim
ANH.OC.A14 | Per capita consumption - Definition | Outcomes Technical Appendix Section 1.5 Per capita consumption
ANH.OC.A15 | Per capita consumption - ODI rates | Main Representation Document Chapter 5 Outcomes Section 5.4 Representation on Ofwat approach to incentive rates
ANH.OC.A16 | Per capita consumption - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.5 Our representation on Ofwat's approach to caps and collars
ANH.OC.A17 | Internal sewer flooding - Stretch | Main Representation Document Chapter 5 Outcomes Section 5.7 Ofwat interventions that do not materially change our plan
ANH.OC.A18 | Internal sewer flooding - ODI rate | Main Representation Document Chapter 5 Outcomes Section 5.4 Representation on Ofwat approach to incentive rates
ANH.OC.A19 | Internal sewer flooding - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.5 Our representation on Ofwat's approach to caps and collars
ANH.OC.A20 | Pollution incidents - Stretch | Main Representation Document Chapter 5 Outcomes Section 5.7 Ofwat interventions that do not materially change our plan
ANH.OC.A21 | Pollution incidents - ODI rates | Main Representation Document Chapter 5 Outcomes Section 5.4 Representation on Ofwat approach to incentive rates
ANH.OC.A22 | Pollution incidents - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.5 Our representation on Ofwat's approach to caps and collars
ANH.OC.A23 | Compliance Risk Index (CRI) - ODI type | NA
ANH.OC.A24 | Compliance Risk Index (CRI) - ODI rate | Main Representation Document Chapter 5 Outcomes Section 5.4 Representation on Ofwat approach to incentive rates
ANH.OC.A25 | Compliance Risk Index (CRI) - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.15 Compliance Risk Index (CRI)
ANH.OC.A26 | Total Mains Bursts - ODI type | Main Representation Document Chapter 5 Outcomes Section 5.10 Mains Repairs and Reactive Mains Bursts
ANH.OC.A27 | Total Mains Bursts - ODI rate | Main Representation Document Chapter 5 Outcomes Section 5.10 Mains Repairs and Reactive Mains Bursts
ANH.OC.A28 | Unplanned outages - Definition | NA
ANH.OC.A29 | Unplanned outages - Stretch | Main Representation Document Chapter 5 Outcomes Section 5.17 Unplanned Outage
ANH.OC.A30 | Unplanned outages - ODI rate | Main Representation Document Chapter 5 Outcomes Section 5.4 Representation on Ofwat approach to incentive rates
ANH.OC.A31 | Unplanned outages - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.5 Our representation on Ofwat's approach to caps and collars Section 5.17 Unplanned Outage
ANH.OC.A32 | Sewer collapses - ODI rate | Main Representation Document Chapter 5 Outcomes Section 5.4 Representation on Ofwat approach to incentive rates
ANH.OC.A33 | Sewer collapses - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.5 Our representation on Ofwat's approach to caps and collars Section 5.18 Sewer collapses
ANH.OC.A34 | Treatment works compliance - Stretch | NA
ANH.OC.A35 | Treatment works compliance - ODI rates | Main Representation Document Chapter 5 Outcomes Section 5.4 Representation on Ofwat approach to incentive rates
ANH.OC.A36 | Treatment works compliance - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.5 Our representation on Ofwat's approach to caps and collars Section 5.7 Ofwat interventions that do not materially change our plan
ANH.OC.A37 | Properties at risk of persistent low pressure - Stretch | NA
ANH.OC.A38 | Properties at risk of persistent low pressure - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.5 Our representation on Ofwat's approach to caps and collars
ANH.OC.A39 | External Sewer Flooding - Stretch | NA
ANH.OC.A40 | External Sewer Flooding - ODI rate | NA
ANH.OC.A41 | External Sewer Flooding - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.5 Our representation on Ofwat's approach to caps and collars Section 5.7 Ofwat interventions that do not materially change our plan
ANH.OC.A42 | Reactive Mains Bursts - Stretch | Main Representation Document Chapter 5 Outcomes Section 5.10 Mains Repairs and Reactive Mains Bursts
ANH.OC.A43 | Reactive Mains Bursts - ODI type | Main Representation Document Chapter 5 Outcomes Section 5.10 Mains Repairs and Reactive Mains Bursts
ANH.OC.A44 | Reactive Mains Bursts - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.10 Mains Repairs and Reactive Mains Bursts
ANH.OC.A45 | Managing void properties - Stretch | Main Representation Document Chapter 5 Outcomes Section 5.21 Managing Void Properties
ANH.OC.A46 | Managing void properties - ODI type | Main Representation Document Chapter 5 Outcomes Section 5.21 Managing Void Properties
ANH.OC.A47 | CRI Water Treatment Works - ODI type | NA
ANH.OC.A48 | CRI Service Reservoirs - ODI type | NA
ANH.OC.A49 | CRI Water Supply Zones - ODI type | NA
ANH.OC.A50 | Water quality contacts - ODI rate | NA
ANH.OC.A51 | Water quality contacts - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.5 Our representation on Ofwat's approach to caps and collars Section 5.7 Ofwat interventions that do not materially change our plan
ANH.OC.A52 | Percentage of population supplied by a single source - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.20 Percentage population supplied by a single supply system
ANH.OC.A53 | Bathing Waters Attaining Excellent Status - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.14 Bathing Waters
ANH.OC.A54 | Bathing Waters Attaining Excellent Status - Timing | Main Representation Document Chapter 5 Outcomes Section 5.14 Bathing Waters
ANH.OC.A55 | Supporting customers in vulnerable circumstances (qualitative) - Definition | Main Representation Document Chapter 5 Outcomes Section 5.23 Supporting customers in vulnerable circumstances (qualitative)
ANH.OC.A56 | Supporting customers in vulnerable circumstances (qualitative) - ODI type | Main Representation Document Chapter 5 Outcomes Section 5.23 Supporting customers in vulnerable circumstances (qualitative)
ANH.OC.A57 | Supporting customers in vulnerable circumstances (qualitative) - ODI rate | Main Representation Document Chapter 5 Outcomes Section 5.23 Supporting customers in vulnerable circumstances (qualitative)
ANH.OC.A58 | Supporting customers in vulnerable circumstances (qualitative) - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.23 Supporting customers in vulnerable circumstances (qualitative)
ANH.OC.A59 | Non-household Retailer Satisfaction - Caps, collars and deadbands | NA
ANH.OC.A60 | Natutal Capital - Definition | Outcomes Technical Appendix Section 1.1 Natural Capital
ANH.OC.A61 | Natutal Capital - Stretch | Outcomes Technical Appendix Section 1.1 Natural Capital
ANH.OC.A62 | Water Industry National Environment Programme - ODI type | NA
ANH.OC.A63 | Water Industry National Environment Programme - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.12 WINEP
ANH.OC.A64 | Social Capital - Definition | Outcomes Technical Appendix Section 1.2 Social Capital
ANH.OC.A65 | Social Capital - Stretch | Outcomes Technical Appendix Section 1.2 Social Capital
ANH.AV.A1 | Affordability and Vulnerability - Struggling to pay measure | Main Representation Document Chapter 5 Outcomes Section 5.24 Helping those struggling to pay
ANH.AV.A2 | Affordability and Vulnerability - BSI measure | NA
ANH.AV.A3 | Affordability and Vulnerability - PSR measure | Main Representation Document Chapter 5 Outcomes Section 5.22 Priority services for customers in vulnerable circumstances
ANH.OC.C1 | Unplanned outages - Caps, collars and deadbands | Main Representation Document Chapter 5 Outcomes Section 5.17 Unplanned Outage
ANH.OC.C2 | Managing void properties - Defintion | Main Representation Document Chapter 5 Outcomes Section 5.7 Ofwat interventions that do not materially change our plan Section 5.21 Managing Void Properties
ANH.OC.C3 | Non-household Retailer Satisfaction - ODI type | Main Representation Document Chapter 5 Outcomes Section 5.7 Ofwat interventions that do not materially change our plan
ANH.OC.C4 | Water Industry National Environment Programme - Definition | Main Representation Document Chapter 5 Outcomes Section 5.12 WINEP
ANH.OC.C5 | Water Industry National Environment Programme - Stretch | Main Representation Document Chapter 5 Outcomes Section 5.12 WINEP
ANH.OC.C6 | Risk of sewer flooding in a storm - Definition | Outcomes Technical Appendix Section 1.3 Sewer flooding resilience
ANH.OC.C7 | Risk of restrictions in a drought - Further information required | Outcomes Technical Appendix Section 1.4 Drought resilience
ANH.OC.C8 | Per capita consumption - Stretch | Main Representation Document Chapter 5 Outcomes Section 5.7 Ofwat interventions that do not materially change our plan
ANH.OC.C9 | Percentage of population supplied by a single source - ODI type | Main Representation Document Chapter 5 Outcomes Section 5.20 Percentage population supplied by a single supply system
ANH.OC.C10 | Water quality contacts - Stretch | Main Representation Document Chapter 5 Outcomes Section 5.19 Water Quality Contacts
ANH.OC.C11 | Leakage - Enhanced ODI | Main Representation Document Chapter 5 Outcomes Section 5.9 Leakage Chapter 12 Focus Area - Leakage PR19 Draft Determination Leakage Cost Adjustment Claim
ANH.OC.C12 | Smart Metering delivery - Performance commitment addition | Main Representation Document Chapter 5 Outcomes Section 5.26 Smart metering Chapter 8 Cost Assessment Enhancement Section 8.3 Enhancement: Review by Investment Area PR19 Draft Determination Smart Metering Cost Adjustment Claim PR19 Draft Determination Supplemental Evidence Chapter 2 Smart Metering
ANH.OC.C13 | Internal interconnection delivery - Performance commitment addition | Main Representation Document Chapter 5 Outcomes Section 5.13 Internal interconnection programme
ANH.OC.C14 | Bathing waters attaining excellent status - Stretch | Main Representation Document Chapter 5 Outcomes Section 5.14 Bathing Waters
ANH.OC.C15 | Bathing waters attaining excellent status - ODI rates | Main Representation Document Chapter 5 Outcomes Section 5.14 Bathing Waters
ANH.OC.C16 | Abstraction incentive mechanism - Caps and collars | Main Representation Document Chapter 5 Outcomes Section 5.5 Our representation on Ofwat's approach to caps and collars Section 5.25 AIM
ANH.OC.D1 | Supporting customers in vulnerable circumstances (quantitative) - Definition | NA
ANH.OC.D2 | Helping those Struggling to pay - ODI type | NA
ANH.LR.A1 | Outcome actions associated with operational resilience | Refer to interventions described above regarding total mains repairs, sewer collapses, unplanned outage, treatment works compliance and percentage population with single supply.
ANH.CMI.A2 | Bioresources - proposed fixed and variable cost split | No comment in reps
ANH.CMI.A5 | DPC - Elsham Treatment and Transfer Scheme | Main Representation document Chapter 11 Focus area - WRMP Chapter 13 Focus area - DPC
ANH.CMI.A6 | DPC - North Fenland to Ely Treatment and Transfer Scheme | Main Representation document Chapter 11 Focus area - WRMP Chapter 13 Focus area - DPC
ANH.CMI.A7 | DPC - Pyewipe treatment Scheme | Main Representation document Chapter 11 Focus area - WRMP Chapter 13 Focus area - DPC
ANH.CMI.A8 | DPC - Pyewipe transfer Scheme | Main Representation document Chapter 11 Focus area - WRMP Chapter 13 Focus area - DPC
ANH.CMI.A9 | DPC - Pyewipe other | Main Representation document Chapter 11 Focus area - WRMP Chapter 13 Focus area - DPC
ANH.CMI.A10 | Strategic Regional Solutions | Main Representation document Chapter 11 Focus area - WRMP
ANH.CMI.B1-2 | Bioresources trading critique | Sludge treatment cost adjustment claim
ANH.CE.A1 | Ofwat's DD view of efficient costs | Main Representation document Chapter 1 Executive Summary Chapter 6 Cost assessment overview Chapter 7 Cost assessment botex plus Chapter 8 Cost assessment enhancement Chapter 10 Focus Area - Growth Chapter 11 Focus Area - WRMP Chapter 12 Focus Area - Leakage Supplementary Evidence document Linked to RP1 tab of this Proforma
ANH.CE.A2 | Internal interconnectors ODI | Main Representation document Chapter 5 Outcomes
ANH.CE.A3 | Strategic Regional solution development | Main representation document Chapter 11 Focus area - WRMP
ANH.CE.A4 | WINEP ODI | Main Representation document Chapter 4 Key Methodological Points
ANH.CE.A4 | Metaldehyde Ban consideration | Main Representation document Chapter 4 Key Methodological Points
ANH.RR.C1 | PAYG - Ofwat made technical interventions to PAYG ratios for DD | Main Representation document Chapter 9 Risk and Return
ANH.RR.C2 | Cost of new Debt - Ofwat intervention to revise upside and downside ranges | Main Representation document Chapter 9 Risk and Return
ANH.RR.C3 | Intervention to reduce C-MEX RoRE to be consistent with cap of +/- 12% | Data tables App26
ANH.RR.C4 | Intervention on ODI RoRE range under outcomes framework | Main Representation chapter 1 Executive Summary Main Representation chapter 5 Outcomes Main Representation chapter 9 Risk and Return Data tables App26
ANH.RR.C5 | RORE Range - companies to update App26 RoRE analysis | Data tables App26
Data Tables |  | Data tables
ANH.PD.C011.01 | Ofwat use of Wholesale WACC (3.09%) when profiling revenue adjustments | No comment in Reps
ANH.PD.C009.01 | Ofwat intervention to reduce SIM reward to 3.54% of HH Revenue | Updated financial model to use actual outturn for 18-19 rather than forecast used by Ofwat in DD
ANH.CA.A7 |  | No further comment in reps
ANH.CA.A8 | Provide further details on Executive Pay metrics | Main representations document Chapter 3 Customer views Annex 3a - Incling Research on Executive Pay August 2019
Bioresources specific efficiency challenge |  | Main Representation document Chapter 7 Cost assessment botex plus
DPC - Notified item | Ofwat are seeking views on the proposed uncertainty mechanism for DPC in the circumstance the DPC scheme reverts to in-house delivery | Main Representation Chapter 4 Key methodological points Chapter 13 Focus Area - DPC
Labour RPE true-up |  | Main Representation Chapter 4 Key methodological points Chapter 6 Cost assessment overview
PR19 draft determinations: Our proposed approach to regulating developer services |  | Main Representation document Chapter 10 Focus Area - Growth

## RP3
Setting expectations for companies' representations on the 2019 draft determinations
PR19 Draft determination representation table (RP3) |  |  | Anglian Water
ANH
Others issues summary (except cost assessment)
Guidance: In this table, companies are invited to provide and signpost evidence of where they have identified: l new issues that they consider need to be addressed for the final determination (all areas except cost assessment); l actions that they consider need to be completed for the final determination e.g. errors or inconsistencies in Ofwat assessments. This table should not include issues related to an existing action or intervention. Items related to existing actions and interventions should be listed in table RP2.
New issue reference | New issue or action identified by the company | Proposed change to the draft determination | Signpost to representation evidence
ANH.DD001 | The use of Botex Plus models to determine growth allowances is inappropriate. | Do not use Botex Plus models for FD. Assess companies' growth costs on the basis of a Deep Dive of companies' proposed expenditure. | • Executive Summary - Section 1.6 Totex • Main document - Chapter 7: Cost assessment Botex Plus • Chapter 10 - Focus Area growth • Growth - Deep dive on Growth Expenditure document • Appendix 1 - AW Water site specific mains benchmarking • Annex 10a - Reckon growth Report • Annex 10b - Vivid Growth Report
ANH.DD002 | Rejection of Customer evidence in deriving Draft Determination position | Ensure the FD aligns with the preferences of customers as set out in our Plan | • Main document - Executive Summary - Section 1.7 Outcomes • Main document - Chapter 3 - Customer Views • Main document - Chapter 4 - Key methodological issues • Main document - Chapter 5 - Outcomes • Annex 3b - Accent Acceptability Research report - Aug 2019 • CEF Response to AW DD Submission
ANH.DD003 | Specific rejection of Customer evidence for Bathing Waters ODI - Linked to RP2 action ANH.OC.A54 | Ensure the FD aligns with customer evidence as set out in our Plan | • Main document - Chapter 3 - Customer Views • Main document - Chapter 5 - Outcomes
ANH.DD004 | Ofwat's Draft Determination does not recognise the interrelationship between costs and service | Reassess this relationship and the impact on the balance of risk and return | • Main document - Executive summary • Main document - Chapter 4 - Key Methodological points • Main document - Chapter 9 - Risk and Return
ANH.DD005 | Ofwat's Draft Determination methodology continues to fail to recognised the need to assess company specific future asset needs and the preferences of our customers. Our representations present evidence of the impact of changing the level of investment to the performance of our assets in delivering service to customers. | Refine the approach to assessing future capital maintenance requirements for FD | • Main document - Executive summary • Main document - Chapter 4 - Key Methodological points • Annex 4a - Bush-Earwkaer Paper - Providing appropriate funding for Capital Maintenance Activity • Annex 4c - Investment summaries
ANH.DD006 | Ofwat's Draft Determination and the volume of uncertainty mechanisms materially damper the regulatory incentives. In part these run counter to Ofwat's suggested outcomes based approach and have a material impact on overall risk and return. | Ofwat to undertake significantly more work on these issues ahead of FD | • Main document - Executive summary • Main document - Chapter 4 - Key Methodological points • Main document - Chapter 6 - Cost assessment overview • Chapter 9 - Risk and Return
ANH.DD007 | Many parts of Ofwat methodology remain incomplete - for example: the future approach to RPE true up. | Ofwat to undertake significantly more work on these issues ahead of FD | • Main document - Chapter 4 - Key Methodological points
ANH.DD008 | Ofwat's DSRA mechanism does not sufficiently provide protection for material changes in growth. We have proposed additional customer protection mechanisms for growth. | Ofwat to undertake significantly more work on these issues ahead of FD | • Main document - Executive summary • Chapter 10 - Growth Focus Area • Annex 10a - Reckon growth Report • Annex 10b - Vivid Growth Report • ODI data request
ANH.DD009 | Ofwat has, and continues to, change the PR19 methodology which increases risk. | Ofwat to undertake significantly more work and early engagement with companies on further changes ahead of FD | • Main document - Executive summary • Main document - Chapter 4.4 - Key Methodological points
ANH.DD010 | Ofwat has rejected robust customer evidence on our WINEP uncertainty mechanism | Ofwat recognise this evidence and reinstates the 10% risk sharing rate | • Main document - Chapter 4.5 - Key Methodological points
ANH.DD011 | The Metaldehyde ban has been revoked | We have not reflected this expenditure in our Plan given the uncertainty. We urge Ofwat to work on the development of a suitable risk mechanism. | • Main document - Chapter 4.6 - Key Methodological points
ANH.DD012 | Consideration uncertainty remains on the bi-laterial entry market mechanism | We have not reflected this expenditure in our Plan given the uncertainty. | • Main document - Chapter 4.7 - Key Methodological points
ANH.DD013 | Ofwat's DD introduces considerable downside skew to ODIs which impact our overall risk and return and financeability | Ofwat reconsiders the relationship between all these factors, including WACC, totex, ODIs and uncertainty mechanisms | • Main document - Executive summary • Main document - Chapter 4 - Key Methodological points • Main document - Chapter 5 - outcomes • Main document - Chapter 9 - Risk and Return • Annex 9b - Economic Insight: Financeability of the notional company • Board Assurance Statement
ANH.DD014 | Ofwat's DD approach to incentive rates is flawed and inconsistent with customer views | Ensure the FD aligns with customer evidence on rates and PCLs as set out in our Plan | • Main document - Executive summary • Main document - Chapter 5 - outcomes • Leakage Focus Area
ANH.DD015 | Ofwat's DD approach to removing caps and collars is unappropriate and inconsistent with explicit customer engagement evidence. Where their removal does not materially impact the delivery of service to customers we have accepted some revisions whilst rejecting others. | Ensure the FD aligns with customer evidence on caps and collars and reinstate these for 6 measures, noting we have accepted their removal for 8 measures. | • Main document - Chapter 3 - Customer Views • Main document - Chapter 5 - outcomes
ANH.DD016 | Ofwat has changed their approach at DD to setting P10 and P90 incentive rates and the construct of the notional company does not support it. | Reverse the change at DD and use companies' P90 and P10 levels which reflect realistic levels of performance. | • Main document - Executive summary • Main document - Chapter 4 - Key Methodological points • Main document - Chapter 5 - Outcomes • Main document - Chapter 9 - Risk and Return • Annex 9b - Economic Insight: Financeability of the notional company • Board Assurance Statement
ANH.DD017 | Ofwat's measure by measure, component by component approach to interventions on ODIs removes the link between our customer engagement and overall risk and reward balance | Ensure the FD aligns with customer evidence on rates and PCLs as set out in our Plan | • Main document - Executive summary • Main document - Chapter 4 - Key Methodological points • Main document - Chapter 5 - outcomes • Main document - Chapter 9 - Risk and Return • Board Assurance Statement
ANH.DD018 | We do not agree a range of Ofwat's ODI interventions | Our detailed comments on each individual measure is set out in tab RP2 | • Main document - Executive summary • Main document - Chapter 5 - outcomes • Outcomes Technical appendix
ANH.DD019 | We have proposed new customer protection ODI mechanisms relating to growth expenditure | Ofwat should accept this proposal and reinstate related expenditure | • Main document - Executive summary • Chapter 10 - Growth Focus Area • Annex 10b - Vivid Growth Report
ANH.DD020 | We have proposed a suite of adjustments to our proposed expenditure | Ofwat should accept these proposals which are set out in full on tab RP1 | • Main document - Executive summary • Main document - Chapter 6 - Cost assessment overview • Main document - Chapter 7 - Cost assessment - Botex Plus • Main document - Chapter 8 - Cost assessment - Enhancement • Main document - Chapter 10 - Growth Focus Area • PR19 Supplementary Evidence
ANH.DD021 | We have proposed three cost adjustment claims for leakage, sludge transport and smart metering | Ofwat should accept these proposals. The associated expenditure is set out in tab RP1 | • Main document - Executive summary • Chapter 6 - Cost assessment overview • Leakage - Cost adjustment claim • Sludge transport - Cost adjustment claim • Smart Metering - Cost adjustment claim
ANH.DD022 | We do not accept Ofwat's overall approach to RPE | Ofwat should accept our proposals. These are reflected across the expenditure set out in tab RP1 | • Main document - Executive summary • Chapter 6 - Cost assessment overview • Chapter 7 - Cost assessment - Botex Plus
ANH.DD023 | We do not accept Ofwat's overall approach to Future productivity | Ofwat should accept our proposals. These are reflected across the expenditure set out in tab RP1 | • Main document - Executive summary • Main document - Chapter 4 - Key Methodological points • Chapter 6 - Cost assessment overview
ANH.DD024 | We do not accept Ofwat's overall approach to WINEP in the round efficiency challenge | Ofwat should accept our proposals. These are reflected across the expenditure set out in tab RP1 | • Chapter 8 - Cost assessment - Enhancement • Annex 8b - Vivid Economics - Enhancement cost assessment
ANH.DD025 | We do not accept Ofwat's overall approach to company specific efficiency factors | Ofwat should accept our proposals. These are reflected across the expenditure set out in tab RP1 | • Chapter 8 - Cost assessment - Enhancement • Chapter 11 - Leakage Focus Area • PR19 Supplementary Evidence • Annex 8b - Vivid Economics - Enhancement cost assessment
ANH.DD026 | We have a number of challenges to Ofwat's individual enhancement models | Ofwat should accept our proposals. These are reflected across the expenditure set out in tab RP1 | • Chapter 8 - Cost assessment - Enhancement • PR19 Supplementary Evidence • Annex 8b - Vivid Economics - Enhancement cost assessment • Annex 8c - Vivid Economics - Log model prediction error • Annex 8d - Letters of support for partnership funding
ANH.DD027 | Elsham Treatment and Transfer scheme should be treated as a 2-sided adjustment | Elsham Treatment and Transfer scheme should be treated as a 2-sided adjustment | • Chapter 6 - Cost assessment overview
ANH.DD028 | There is inconsistent treatment of liquor treatment costs between companies which materially affects allocations Waste water network plus and Bioresources price controls | Ofwat to ensure equivalent treatment across all companies for FD | • Chapter 7.6 - Liquor treatment costs
ANH.DD029 | Neither the notional nor the actual company is financeable at the level of WACC proposed and in the context of the overall balance of risk and return presented in the DD | Ofwat to revise its approach for FD. Our Representation offers a number of ways in which the balance of risk and return can be restored. We propose solutions to close the Totex funding gap (including where we have proposed cost reductions compared to our September Plan), to rebalance the downside skew to ODIs, and to address the problems related to the building blocks of WACC and other aspects of risk and return. | • Main document - Executive summary • Main document - Chapter 4 - Key Methodological points • Main document - Chapter 5 - outcomes • Main document - Chapter 9 - Risk and Return • Board Assurance Statement • Annex 9a - Notional company financeability • Annex 9b - Economic Insight: Financeability of the notional company
ANH.DD030 | We challenge Ofwat's approach to the cost of new Debt used in the DD | Ofwat to revise its approach for FD | • Main document - Chapter 9 - Risk and Return • Board Assurance Statement • Annex 9a - Notional company financeability • Annex 9b - Economic Insight: Financeability of the notional company
ANH.DD031 | We challenge Ofwat's approach to the cost of embedded Debt used in the DD | Ofwat to revise its approach for FD | • Main document - Chapter 9 - Risk and Return • Board Assurance Statement • Annex 9a - Notional company financeability • Annex 9b - Economic Insight: Financeability of the notional company
ANH.DD032 | We challenge Ofwat's assumption on the ratio of embedded to new debt used in the DD | Ofwat to revise its approach for FD | • Main document - Chapter 9 - Risk and Return • Board Assurance Statement • Annex 9a - Notional company financeability • Annex 9b - Economic Insight: Financeability of the notional company
ANH.DD033 | We challenge Ofwat's assumption on the cost of equity used in the DD | Ofwat to revise its approach for FD | • Main document - Chapter 9 - Risk and Return • Board Assurance Statement • Annex 9a - Notional company financeability • Annex 9b - Economic Insight: Financeability of the notional company
ANH.DD034 | We challenge Ofwat's assumption to Total market returns | Ofwat to revise its approach for FD | • Main document - Chapter 9 - Risk and Return • Board Assurance Statement • Annex 9a - Notional company financeability • Annex 9b - Economic Insight: Financeability of the notional company
ANH.DD035 | We challenge Ofwat's assumption to setting Betas | Ofwat to revise its approach for FD | • Main document - Chapter 9 - Risk and Return • Board Assurance Statement • Annex 9a - Notional company financeability • Annex 9b - Economic Insight: Financeability of the notional company
ANH.DD036 | We challenge Ofwat's methodological change to remove partial funding of the gap between company and Ofwat view on costs | Ofwat to revise its approach for FD | • Main document - Executive summary • Main document - Chapter 9 - Risk and Return - specifically 9.4
ANH.DD037 | We have responded to Ofwat's DD and subsequent letter on WRMP and provided further evidence as required | Ofwat should accept these proposals and reinstate expenditure for FD. The associated expenditure is set out in tab RP1 | • Main document - Executive summary • Focus Area - WRMP • Annex 11a - Strategic Region solution • Annex 11b - AW revised dWRMP 2019 • Annex 11c - AW revised dWRMP 2019 - supporting technical - Customer and stakeholder engagement • Annex 11d - AW revised dWRMP 2019 - supporting technical - Options appraisal • Annex 11e - supporting technical - Supply side Option Development v2 • Annex 11f - Ofwat letter - WRMP 20 August 2019
ANH.DD038 | We have a number of comments on the components of leakage including base cost adjustment, enhancement costs, and ODI incentives | Ofwat should accept our Representation proposals. | • Leakage Cost adjustment claim • Focus area: Leakage • Focus Area: WRMP • Chapter 5 - Outcomes
ANH.DD039 | We have a number of comments on Ofwat's DPC uncertainty mechanism and accounting treatment of DPC schemes | Ofwat should engage with companies ahead of FD to resolve this issues | • Focus area: DPC • Chapter 4: Key methodological points
ANH.DD040 | Ofwat's assumption that Base models fund Upper Quartile performance for all measures is unjustifed | Seek to address this position for FD | • Main document - Chapter 4 - Key Methodological points • Main document - Chapter 5 - outcomes
ANH.DD041 | Ofwat's Botex Plus models to not address the challenges to the models previously raised | Ofwat should review its models ahead of FD to address these concerns | • Chapter 7 - Cost assessment - Botex Plus • Annex 7a - Comment on Ofwat's application of Wholesale water cost assessment modelling in its PR19 Draft Determinations
ANH.DD042 | Ofwat's treatment of enhancement opex and treatment of costs requires further work |  | • Annex 8a - Reckon note on Enhancement opex
KEY
Inputs cells
Calculated cells
Copied cells

## RP4
Setting expectations for companies' representations on the 2019 draft determinations
PR19 Draft determination representation table (RP4) |  |  | Anglian Water
ANH
Schedule of data requirements for the final determination
Guidance: This table sets out: l those business plan tables we expect companies to resubmit in light of our draft determinations; l specific data we require for the final determination; and l confirmation of other business plan tables companies are choosing to resubmit in support of their representations. Companies should only resubmit tables where changes have been made from their 1 April 2019 submission (for fast track companies, 3 September 2018 or 11 February 2019 submitted data as appropriate). All changes should be highlighted in red formatting in the tables. We expect companies to publish the updated tables they submit to Ofwat as part of their representation on the draft determinations.
Table number | Table description | Reason for resubmission | Required for
WS1 | Wholesale water operating and capital expenditure by business unit |  | All companies (and for Portsmouth Water only, a separate table WS1 for Havant Thicket)
WS2 | Wholesale water capital and operating enhancement expenditure by purpose |  | All companies
WWS1 | Wholesale wastewater operating and capital expenditure by business unit |  | Wastewater companies
WWS2 | Wholesale wastewater capital and operating enhancement expenditure by purpose |  | Wastewater companies
Dmmy1 | Dummy price control operating and capital expenditure by business unit |  | Thames Water
R1 | Residential retail |  | All companies
R4 | Business retail ~ Welsh companies |  | Dŵr Cymru and Hafren Dyfrdwy
R5 | Business retail ~ non-exited companies operating in England |  | Yorkshire Water
APP26 | RoRE Scenarios | As set out in the risk and return actions and interventions tracker we expect all companies to resubmit App26. | All companies
PR19 draft determinations - Outcomes representations data submission | Performance commitments (PCs) and outcome delivery incentives (ODIs) | To provide a new set of P10s and P90s for each outcome where we have intervened and the overall P10 and P90 for ODIs as the ODIs are set in the draft determinations. To provide shadow reporting of 2018-19 actual performance. | All companies
PR19 draft determinations - Developer services data request | Developer services - Wholesale water Developer services - Wholesale wastewater | A data request which builds on the all-company query we issued in April 2019. We have refined our definitions, particularly with regard to self-lay activity in order to improve the consistency of the data across the industry. | All companies Wastewater companies
App7 | Proposed price limites and average bills | See table commentary
App8 | Appointee financing | See table commentary
App9 | Adjustments to RCV from disposals of Interest in Land | See table commentary
App10 | Financial Ratios | See table commentary
App11 | Income statement based on the actual company structure | See table commentary
App11a | Income statement based on a notional company struture | See table commentary
App12 | Balance sheet based on the actual company structure | See table commentary
App12a | Balance sheet based on notional company structure | See table commentary
App13 | Trade Receivables | See table commentary
App14 | Trade and other payables | See table commentary
App15 | Cashflow based on the actual company structure | See table commentary
App15a | Cashflow based on a notional company structure | See table commentary
App16 | Tangible fixed assets | See table commentary
App17 | Appointee revenue summary | See table commentary
App18 | Share capital and dividends | See table commentary
App19 | Debt and interest costs | See table commentary
App21 | Direct procurement for customers | See table commentary
App23 | Inflation Measures | See table commentary
App24a | Real Price effects (RPEs) and efficiency gains | See table commentary
App25 | reconciliation adjustments summary | See table commentary
App26 | RoRE Scenarios | See table commentary
App27 | PR14 reconciliation - financial outcome delivery incentives summary | See table commentary
App28 | Developer services (wholesale) | See table commentary
App29 | Wholesale tax | See table commentary
App32 | Weighted average cost of capital for the Appointee | See table commentary
App33 | Wholesale operating leases reclassified under IFRS16 | See table commentary
WS1 | Wholesale water operating and capital expenditure by business unit | See table commentary
WS1a | Wholesale water operating and capital expenditure by business unit including operating leases reclassified under IFRS16 | See table commentary
WS2 | Wholesale water capital and operating enhancement expenditure by purpose | See table commentary
WS3 | Wholesale water properties and population | See table commentary
WS5 | Other wholesale water expenditure | See table commentary
WS10 | Transitional spending in the wholesale water service | See table commentary
WS13 | PR14 wholesale revenue forecast incentive mechanism for the water service | See table commentary
WS15 | PR14 wholesale total expenditure outperformance sharing for the water service | See table commentary
Wr1 | Wholesale water resources (explanatory variables) | See table commentary
Wr2 | Wholesale water resources opex | See table commentary
Wr3 | Wholesale revenue projections for the water resources price control | See table commentary
Wr4 | Cost recovery for water resources | See table commentary
Wr5 | Weighted average cost of capital for the water resources control | See table commentary
See table commentary
See table commentary
See table commentary
Wn1 | Wholesale network plus raw water transport and water treatment (explanatory variables) | See table commentary
Wn2 | Wholesale water network plus water distribution (explanatory variables) | See table commentary
Wn3 | Wholesale revenue projections for the water network plus price control | See table commentary
Wn4 | Cost recovery for water network plus | See table commentary
Wn5 | Weighted average cost of capital for the water network plus control | See table commentary
See table commentary
WWS1 | Wholesale wastewater operating and capital expenditure by business unit | See table commentary
WWS1a | Wholesale wastewater operating and capital expenditure by business unit including operating leases reclassified under IFRS16 | See table commentary
WWS2 | Wholesale wastewater capital and operating expenditure by purpose | See table commentary
WWS3 | Wholesale wastewater properties and population | See table commentary
WWS4 | Wholesale wastewater other (explanatory variables) | See table commentary
WWS5 | Other wholesale wastewater expenditure | See table commentary
WWS7 | Wholesale wastewater local authority rates | See table commentary
WWS10 | Transitional spending in the wholesale wastewater service | See table commentary
WWS13 | PR14 wholesale revenue forecast incentive mechanism for the wastewater service | See table commentary
WWS15 | PR14 wholesale total expenditure outperformance sharing for the wastewater service | See table commentary
WWn1 | Wholesale wastewater sewage treatment operating expenditure | See table commentary
WWn3 | Wholesale wastewater network (explanatory variables) | See table commentary
WWn5 | Wholesale revenue projections for the wastewater network plus price control | See table commentary
WWn6 | Cost recovery for wastewater network plus | See table commentary
WWn7 | Weighted average cost of capital for the wastewater network plus control | See table commentary
Bio3 | Wholesale wastewater sludge opex | See table commentary
Bio4 | Wholesale revenue projections for the wastewater bioresources price control | See table commentary
Bio5 | Cost recovery for bioresources | See table commentary
Bio6 | Weighted average cost of capital for the bioresources control | See table commentary
R1 | Residential Retail | See table commentary
R7 | Revenue and cost recovery for retail | See table commentary
R9 | PR14 reconciliation household retail revenue | See table commentary
R10 | PR14 Service Incentive mechanism | See table commentary
KEY
Inputs cells
Calculated cells
Copied cells

## Data validation (hidden)
Company name | Acronym | CA | Price control | DD
Select company | XXX | DD.CA1 | Water resources | DD001
Affinity Water | AFW | DD.CA2 | Water network plus | DD002
Anglian Water | ANH | DD.CA3 | Wastewater network plus | DD003
Bristol Water | BRL | DD.CA4 | Bioresources | DD004
Dŵr Cymru | WSH | DD.CA5 | Residential retail | DD005
Hafren Dyfrdwy | HDD | DD.CA6 | Business retail | DD006
Northumbrian Water | NES | DD.CA7 | Dummy control | DD007
Portsmouth Water | PRT | DD.CA8 |  | DD008
SES Water | SES | DD.CA9 |  | DD009
Severn Trent England | SVE | DD.CA10 |  | DD010
Southern Water | SRN | DD.CA11 |  | DD011
South East Water | SEW | DD.CA12 |  | DD012
South Staffs Water | SSC | DD.CA13 |  | DD013
South West Water | SWB | DD.CA14 |  | DD014
Thames Water | TMS | DD.CA15 |  | DD015
United Utilities | UU | DD.CA16 |  | DD016
Wessex Water | WSX | DD.CA17 |  | DD017
Yorkshire Water | YKY | DD.CA18 |  | DD018
|  | DD.CA19 |  | DD019
|  | DD.CA20 |  | DD020
|  | DD.CA21 |  | DD021
|  | DD.CA22 |  | DD022
|  | DD.CA23 |  | DD023
|  | DD.CA24 |  | DD024
|  | DD.CA25 |  | DD025
|  | DD.CA26 |  | DD026
|  | DD.CA27 |  | DD027
|  | DD.CA28 |  | DD028
|  | DD.CA29 |  | DD029
|  | DD.CA30 |  | DD030
|  | DD.CA31 |  | DD031
|  | DD.CA32 |  | DD032
|  | DD.CA33 |  | DD033
|  | DD.CA34 |  | DD034
|  | DD.CA35 |  | DD035
|  | DD.CA36 |  | DD036
|  | DD.CA37 |  | DD037
|  | DD.CA38 |  | DD038
|  | DD.CA39 |  | DD039
|  | DD.CA40 |  | DD040
|  | DD.CA41 |  | DD041
|  | DD.CA42 |  | DD042
|  | DD.CA43 |  | DD043
|  | DD.CA44 |  | DD044
|  | DD.CA45 |  | DD045
|  | DD.CA46 |  | DD046
|  | DD.CA47 |  | DD047
|  | DD.CA48 |  | DD048
|  | DD.CA49 |  | DD049
|  | DD.CA50 |  | DD050
|  | DD.CA51 |  | DD051
|  | DD.CA52 |  | DD052
|  | DD.CA53 |  | DD053
|  | DD.CA54 |  | DD054
|  | DD.CA55 |  | DD055
|  | DD.CA56 |  | DD056
|  | DD.CA57 |  | DD057
|  | DD.CA58 |  | DD058
|  | DD.CA59 |  | DD059
|  | DD.CA60 |  | DD060
|  | DD.CA61 |  | DD061
|  | DD.CA62 |  | DD062
|  | DD.CA63 |  | DD063
|  | DD.CA64 |  | DD064
|  | DD.CA65 |  | DD065
|  | DD.CA66 |  | DD066
|  | DD.CA67 |  | DD067
|  | DD.CA68 |  | DD068
|  | DD.CA69 |  | DD069
|  | DD.CA70 |  | DD070
|  | DD.CA71 |  | DD071
|  | DD.CA72 |  | DD072
|  | DD.CA73 |  | DD073
|  | DD.CA74 |  | DD074
|  | DD.CA75 |  | DD075
|  | DD.CA76 |  | DD076
|  | DD.CA77 |  | DD077
|  | DD.CA78 |  | DD078
|  | DD.CA79 |  | DD079
|  | DD.CA80 |  | DD080
|  | DD.CA81 |  | DD081
|  | DD.CA82 |  | DD082
|  | DD.CA83 |  | DD083
|  | DD.CA84 |  | DD084
|  | DD.CA85 |  | DD085
|  | DD.CA86 |  | DD086
|  | DD.CA87 |  | DD087
|  | DD.CA88 |  | DD088
|  | DD.CA89 |  | DD089
|  | DD.CA90 |  | DD090
|  | DD.CA91 |  | DD091
|  | DD.CA92 |  | DD092
|  | DD.CA93 |  | DD093
|  | DD.CA94 |  | DD094
|  | DD.CA95 |  | DD095
|  | DD.CA96 |  | DD096
|  | DD.CA97 |  | DD097
|  | DD.CA98 |  | DD098
|  | DD.CA99 |  | DD099
|  | DD.CA100 |  | DD100